FACILITIES SERVICES

Project 03292021FIC

Addendum 1

- Section 011000 Summary for Contract Time shall read as follows: Time of Completion shall be 60 days from issuance of Purchase Order or Notice To Proceed which ever comes first.

- All interior and exterior handrails are to be painted with Sherwin Williams Bulldog Maroon and cost included in the base bid.

- All gutters, fascia and soffits are to be painted with Sherwin Williams Bulldog Maroon.

- Soffit and fascia repair are not apart of the contractor’s responsibility.

- Storage tanks, compressors and HVAC equipment is not part of this project.

- Retaining wall shall be pressures washed and receive two coats of paint, color will be chosen by Owner. Cost shall be included in base bid. See pictures of locations below: Areas are Front entrance, South side of building and Interior Court Yard.

- Repair hole at junction box and wall as shown on the pictures below: Areas shown are at the Front entrance, East wall and North wall.

- Paint all exterior grills with Sherwin Williams Bulldog Maroon.

- Pressure wash interior Courtyard, Front entrance and entrances on the Westside of the building.

- Paint interior hall and conference room wall with Sherwin Williams Agreeable Gray.

- Replace 4-inch cove base in hall and conference room with 6-inch Maroon cove base and preformed corners.

- Caulk front entrance where the slab meets the building and retaining wall after pressure washing see picture below:

- Pressure wash white canopies in the courtyard and North side of the building.

- Remove from Section 01 23 00 Alternates 1.4 Schedule of Alternates

- Alternate No. 1 Amount to be added to base bid if new gravel and associated work are included in contract for the existing dirt road per drawing A-0.0.

- Replace wall louvers in the interior court yard as shown in the picture below:

End of Addendum 1